## Slide 1: Solar Generation System
Team 19: Chris Goodrich, Damon Stubbs, Drew Wassenaar,
Kenny Nguyen, Taylor Mullen
Advisor/Client: Professor Ajjarapu
Website: http://sddec18-19.sd.ece.iastate.edu

## Slide 2: Introduction
EE 452 Solar Power Lab
  Use different resistive loads directly with Solar Panels
  Use same loads with MPPT and Solar Panels

## Slide 3: I-V CHARACTERISTICS
Varying Irradiance Varying Temperature

## Slide 4: Problem Statement
Current Lab is unstable and unsafe
DC load is insufficient to fully display I-V characteristics of Solar Panel and MPPT
Solar Panels are in the shade by mid afternoon

## Slide 5: Problems continued

## Slide 6: Concept Sketch
Top View

## Slide 7: Functional Requirements
Load flexible enough to plot I-V characteristics of Solar Panels
  Must withstand high power at load
Displays showing accurate internal voltages and currents

## Slide 8: Non-Functional Requirements
Must be delivered in lab format
  Lab must be able to be finished in well under 3 hours
Must fit in designated area
  2x2x3 feet for circuitry
  Inside existing model train (3 foot diameter) for load
Make circuitry safe and stable

## Slide 9: Constraints
Weather – Outside all year long
Last without use for up to a year
Survive use by students

## Slide 10: Potential Risks
Poor wire management
Faulty components
Securing components
Additional Components increases overall
capacity of system
Limited knowledge on soldering

## Slide 11: Resources/Cost Estimate
Resistor Bank- Various Resistors : $228.30
Resources- Plywood and Plexiglass: $43.47
New MPPT : $243.00
Breaker : $10.56
Additional Solar Panels : $700.00
Additional Batteries : $91.96
Overall Estimated Cost: $1317.29

## Slide 12: Project Milestones and Schedule 1st semester
Understanding Lab Setup and Workstation
Simulate Lab Setup and Workstation
Listed Issues and Errors
Formulate possible fixes
Additional Components to increase overall Capacity
Plan implementation of resistor bank

## Slide 13: Project Milestones and Schedule 2nd Semester
Fix wire management
Place circuitry in secure location
Implement resistor bank
Accurate Displays for loads
Increasing capacity by adding more batteries and solar panels
Cleanup and revise workstation for future students to improve upon lab intuitively

## Slide 14: Functional Decomposition
Two 12V Batteries in Series: Functions as Power Storage
MPPT: Tracks the Max Power Point and Balances the Power Draw from the Solar Panel and Battery
Inverter: Converts DC to AC
VFD: Convert 1 Phase Power to 3 Phase, and Provides a Variable Frequency control
Relay 1: Provides Power to Displays
Relay 2: Connected Solar Power Input to DC Output or MPPT
Arduino: Takes in Readings from a Temperature sensor and Irradiance Sensor and Displays them
Multimeters: measure current and Voltages of Power Input and Load

## Slide 15: Resistor Bank Design
Dimensions: 2'x2'x4"
Plywood: 3/8" Thick
Plexiglass: 1/8" Thick
Resistors: 8" x 2"
Resistance Needed: 0.5Ω - 200Ω
Current Power Rating: 300 W
Resistor Values: 1, 2, 5, 10, 15, 25, 50, 100 Ω
Provides Max Resistance: 208 Ω
Provides Min Resistance: 0.52 Ω
1 Ω
2 Ω
5 Ω
10 Ω
15 Ω
25 Ω
50 Ω
100 Ω

## Slide 16: Circuit Safety Design
Fully Enclosed Circuit Container
Locking Access Panel
Wire Management, and High Voltage Isolation
Circuit Breaker to Disconnect AC Power
Wire Insulation
Grounding the Ground Rail

## Slide 17: Solar Panel Addition
Compatible Solar Panels
Movable Panel Mount
Breaker Disconnect
New Irradiance Sensor
New Temperature Sensor
New Display
(Dependent on Approval)
Courtyard

## Slide 18: House Model
Build a 2'x2'x2' House Model to Add to Resistor Bank
Capacitors and Inductors to Model a House
1-Phase AC Connections, 120V and 15A Capacity
Banana Connections for Capacitors and Inductors
Watt and Var Meter for Analyzing Load
(Dependent on Approval)

## Slide 19: Hardware/software Platforms
Current setup includes an Arduino connected to the thermometer and pyranometer.
Used to store and display data using 2 libraries (GFX and TFTLCD).
Connected to a TFT LCD which displays the irradiance and temperature.
2 other displays are set up, receiving data from the multimeters.
They display Solar Panel characteristics and load characteristics for an AC load.
We will be adding in an additional display for the DC Load.

## Slide 20: Test Plan
Setups will be tested in accurate Simulink models.
Max power will be the main measurement of interest.
Simulink allows easy variable and load changes.
Hypothesis: With our proposed setup, our power will never exceed maximum ratings for any reasonable temperature or irradiance.

## Slide 21: Prototype
Prototype test lab setup within Simulink
Housing with various resistive loads to connect to

## Slide 22: Current Status
The lab setup is unstable and unsafe.
There are shorts and sparks within circuitry of setup.
Unable to display information about the DC load.
Either too little or too much power from solar panels when obtaining readings.
Unable to do testing for labs later in the day.

## Slide 23: Responsibility of Each team Member
Drew Wassenaar – Team Lead
Chris Goodrich – Circuit Design Lead
Damon Stubbs – Software Lead
Kenny Nguyen – Webmaster/Circuit Design Engineer
Taylor Mullen – Testing Engineer

## Slide 24: Plan for Next semester
Order parts for resistor bank
Rewire circuit for safety and stability purposes
Implement accurate displays
Add to resistor bank to model a house (if time allows)
Update Lab Document

## Slide 25: Thank you

## Slide 26: Models and plots from simulink
Varying Irradiance Varying Temperature

## Slide 27: Simulink Continued

## Slide 28: List of circuit components and limits
MPPT- 300 Watts
Inverter- 600 Watts
Battery- 12 Volts
Solar Panel Kyocera Model KD135GX-LPU- 135 Watts at 25 degrees C
Maximum power from solar panels- 270 Watts
Temperature Sensor N4c3xe-lm35dz LM35DZ

## Slide 29: Solar Panel Name Plate